## Nodes
Node name | Node type {REF, PQ} | Base voltage [kV] | Notes
Grid | REF | 110 | Slack bus
# test comment
Bus0 | PQ | 20
Bus1 | PQ | 20
Bus2 | PQ | 20
Bus3 | PQ | 20

## Lines
Name | From | To | Type | Length [km] | Online | Tap | Notes
# Transformer
Trafo1 | Grid | Bus0 | TRAFO_23 | 1 | 1 | 0
# Lines
B_0 | Bus0 | Bus1 | SPAM_200 | 5 | 1
B_1 | Bus0 | Bus2 | SPAM_200 | 3 | 1
B_2 | Bus1 | Bus3 | SPAM_200 | 2 | 1
B_3 | Bus2 | Bus3 | SPAM_200 | 0.3 | 1

## Line Types
Type name | R' [Ω/km] | X' [Ω/km] | C' [nF/km] | I_max [A]
SPAM_200 | 0.1337 | 0.0815 | 0 | 404

## Transformers
Transformer Type | S_r [MVA] | I_max_prim [A] | I_max_sec [A] | P_loss [kW] | R [Ω] | X [Ω] | taps
TRAFO_23 | 23 | 100 | 800 | 100 | 0.0123 | 1.234 | {-1: 0.9, 0: 1.0, 1: 1.1}